SECTION 05 53 00

11-W-4 CARBON STEEL WELDED BAR GRATING

Three-Part Guide Specification

| Document control | Value |
| --- | --- |
| Code | QY-SG-3PS-11W4-01 |
| Revision / date | Rev. 1.0 / 24 Jul 2026 |
| Status | Editable guide specification — project team must complete bracketed requirements |
| Primary basis | ANSI/NAAMM MBG 531-24; project drawings and governing code |
| Evidence rule | Numerical load, slip, coating and compliance claims require project-matched evidence |

Use boundary. This is an original QY guide specification. It does not certify a particular product or project. The responsible design professional must confirm loads, spans, deflection, openings, slip criteria, support and fasteners.

# PART 1 — GENERAL

## 1.1 SUMMARY

A. Section includes shop-fabricated, light-duty carbon steel welded bar grating, bearing bars, cross bars, banding, anchors, clips, fasteners and accessories required for a complete installation.

B. Related work: structural steel supports, concrete supports, field-applied coatings, stairs, handrails and adjacent floor systems.

## 1.2 REFERENCES

ANSI/NAAMM MBG 531-24 — Metal Bar Grating Manual.

ASTM A1011/A1011M-25 — Hot-rolled steel sheet and strip, when applicable to bearing-bar material.

ASTM A510/A510M-25 — General requirements for wire rods and coarse round wire, when applicable to cross-bar input.

ASTM A123/A123M-24 — Zinc coatings on iron and steel products, when after-fabrication galvanizing is specified.

ASTM A153/A153M-23 — Zinc coating on iron and steel hardware, when applicable to accessories.

2010 ADA Standards for Accessible Design, Sections 302.1 and 302.3, where an accessible route is required.

Project structural, accessibility, slip-resistance, fire/life-safety and owner standards.

Edition control. Use the edition adopted by the contract documents or authority having jurisdiction. Do not combine requirements from different unit systems or editions without review.

## 1.3 DESIGN AND PERFORMANCE REQUIREMENTS

Design load: uniform load [____ psf / ____ kPa] and concentrated load [____ lb / ____ kN] at the stated location.

Clear span: [____ in / ____ mm]; support width: [____ in / ____ mm].

Maximum service deflection: lesser of [L/____] or [____ in / ____ mm], unless project criteria state otherwise.

Do not select bearing-bar depth from nominal product designation alone; submit the exact model load table or calculation.

Where accessibility applies, openings shall not pass a sphere greater than 1/2 in (13 mm), and elongated openings shall be oriented with the long dimension perpendicular to the dominant direction of travel.

Slip-resistance performance: [test method, condition and acceptance value]. Do not state compliance without an exact surface test report accepted by the project team.

## 1.4 SUBMITTALS

Product data identifying grating designation, bearing-bar size/spacing, cross-bar spacing, material, surface and finish.

Load table or engineering calculation matching the exact product, span, support condition and stated loads.

Shop drawings with panel layout, bearing-bar direction, supports, penetrations, cutouts, banding, joints, anchors and removable sections.

Material certificates, coating report, fastener certificates and dimensional inspection report.

Slip and other test reports only when specified; each report shall identify the exact tested product and condition.

Samples: [size and quantity], showing surface and finish.

## 1.5 QUALITY ASSURANCE

Fabricator shall maintain traceability from raw material through fabrication, finish, inspection and packing.

Welding and fabrication personnel/procedures shall comply with project requirements.

Resolve conflicts among specification, drawing, approved submittal and field conditions before fabrication.

Do not claim ADA, slip, load or coating compliance by product name alone.

## 1.6 DELIVERY, STORAGE AND HANDLING

Bundle and mark panels by area or panel ID; protect edges and finished surfaces.

Store dry, ventilated and above ground; avoid wet, unventilated stacking of galvanized work.

Do not lift bundles in a manner that permanently distorts panels.

# PART 2 — PRODUCTS

## 2.1 MANUFACTURER

A. Basis-of-design supplier: QY Metal Tech, qymetaltech.com.

B. Substitutions: Submit the same technical, dimensional, load, finish and evidence package required for the specified product.

## 2.2 WELDED BAR GRATING

| Parameter | Specified requirement |
| --- | --- |
| Designation | 11-W-4 welded steel bar grating, subject to project confirmation |
| Bearing-bar spacing | 11/16 in (nominal) on center; state metric manufacturing control and tolerance |
| Bearing-bar thickness | 3/16 in nominal or project-approved equivalent |
| Bearing-bar depth | [____ in / ____ mm], selected from the approved load/deflection evidence |
| Cross-bar spacing | 4 in nominal on center |
| Surface | Plain / serrated / project-verified slip-resistant option |
| Panel size | [____ x ____] with bearing-bar direction shown on shop drawings |
| Banding | Flush / load-carrying / trim banding as detailed |
| Finish | Bare / after-fabrication hot-dip galvanized / project coating system |

Naming rule. The 11-W-4 designation is a geometric/product description, not proof of a load capacity, slip value, accessibility result or coating compliance.

## 2.3 MATERIALS

Bearing bars: carbon steel conforming to the grade and standard shown on the approved submittal; ASTM A1011/A1011M is one possible project basis where applicable.

Cross bars: carbon steel wire/rod conforming to the approved input specification; ASTM A510/A510M provides general requirements when applicable.

Banding and welded attachments: compatible carbon steel with documented grade.

Fasteners and clips: material, grade and coating suitable for the substrate, environment and maintenance plan.

## 2.4 FABRICATION

Fabricate panels to the approved layout; bearing bars shall span between supports.

Provide openings, cutouts and banding at locations shown; do not flame-cut finished galvanized panels unless an approved repair procedure is used.

Maintain dimensional tolerances of the adopted ANSI/NAAMM manual and tighter project tolerances where stated.

Identify removable panels and match-mark adjacent panels where required.

Remove sharp projections and fabrication debris without reducing required section.

## 2.5 FINISHES

After-fabrication hot-dip galvanizing: ASTM A123/A123M, when specified and applicable.

Hardware galvanizing: ASTM A153/A153M, when specified and applicable.

Repair damaged coating only by the method permitted by the governing coating standard and approved project documents.

Provide coating inspection results linked to panel or batch identity.

## 2.6 ACCESSORIES

Provide clips, anchors, fasteners, washers and support seats shown on the approved drawings.

Use a minimum of [____] positive attachments per panel or the engineered quantity shown on the approved drawing.

Allow removal only where the project requires access; coordinate captive or tamper-resistant hardware.

# PART 3 — EXECUTION

## 3.1 EXAMINATION

Verify support locations, elevations, bearing width, openings and adjacent construction.

Confirm supports are complete, aligned and capable of receiving the specified fasteners.

Do not install over unapproved field conditions; document and obtain disposition.

## 3.2 INSTALLATION

Install bearing bars in the span direction shown on approved shop drawings.

Provide full, even bearing and required edge clearance; do not pack with loose, unapproved shims.

Orient elongated openings perpendicular to dominant travel where the accessible-route requirement applies.

Align adjacent surfaces to avoid trip edges; maintain specified joint and perimeter gaps.

Attach panels with the approved clip/anchor pattern. Tighten without crushing or distorting bearing bars.

Restore damaged finish by the approved method and record repairs.

## 3.3 FIELD QUALITY CONTROL

| Inspection | Acceptance record |
| --- | --- |
| Panel identity / drawing | Correct panel ID, revision and location |
| Bearing direction / support | Correct span direction, bearing width and support contact |
| Openings / joints | Approved size, orientation and trip-edge control |
| Fasteners | Correct type, quantity, location and security |
| Finish | Damage repaired and no unacceptable sharp edges |
| Removable access | Operates, is restrained in service and is identified |

## 3.4 CLEANING AND PROTECTION

Remove debris, labels and foreign material without damaging finish.

Protect installed grating from overload, welding spatter, concrete contamination and traffic until handover.

Replace damaged panels that cannot be restored within approved acceptance criteria.

## 3.5 CLOSEOUT

Submit as-built layout, material/coating records, deviations, repair record and maintenance instructions.

Record the final product designation, panel IDs and evidence package revision used for release.

END OF SECTION